## CONTRACTORS & SYSTEMS
BASE BUILDING CONTRACTORS AND SYSTEMS
Cummer Lodge
Fire Alarm System | Simplex #4100
Nurse Call System | PALADIUM CARE Wireless NC System
Security System | Corporate Security(COT)
BAS System | Johnson Controls METASYS / FX80
Fire Alarm Service Contractor | JOHNSON CONTROL / TYCO Emergency Service Line: 905-212-4620 Inspections Scheduling: inspections.toronto@jci.com 2400 Skymark Avenue / Toronto, Ontario L4W5K5 / CANADA www.johnsoncontrols.com / TYCO Main number (905-212-4400) 24/7 number.
Fire Extinguisher Inspection, Recharging, and Maintenance | CITY OF TORONTO FIRE AND LIFE SAFETY - Kelly Curran Fire Safety Officer, Fire Operations Fire & Life Safety Program Office Corporate Real Estate Management City of Toronto 35 Spadina Road Toronto, ON M5R 2S9 Cell: (416) 315-1630 Email: Kelly.Curran@toronto.ca
Nurse Call Service Contractor | KR Communications Ltd. 27 Albert Street West Plattsville, Ontario N0J 1S0 KR Communications Ltd. contact numbers: Tel. (519) 684-7570 Fax. 1-866-456-3817 E-mail: krcomm@rogers.com Tim Ward’s cell phone: (519) 748-7614 Mike Lantz’s cell phone: (519) 590-6016 Zen Smith’s cell phone: (519) 577-1042 Chris Young’s cell phone (519) 841-5819 Bernie Magnus’s cell phone: (519) 577-2906
Security Service Contractor | Corporate Security(COT)
BAS Controls Contractor | Angela Bennett ¦ Service Dispatch ESC Automation Inc. 100-5525 Eglinton Ave West Etobicoke, ON M9C 5K5 T: 647.789.2621 ¦ C: 437.341.0944 abennett@escautomation.com AINSWORTH / ESC Murtaza Abid Dispatch: 1-888-393-5553 Direct: 647-526-3931 Murtaza.abid@ainsworth.com
Sprinkler/Standpipe | CITY OF TORONTO FIRE AND LIFE SAFETY - Kelly Curran Fire Safety Officer, Fire Operations Fire & Life Safety Program Office Corporate Real Estate Management City of Toronto 35 Spadina Road Toronto, ON M5R 2S9 Cell: (416) 315-1630 Email: Kelly.Curran@toronto.ca
Service Elevators | Mr. Adrian Bell ¦ Project Manager - Mobile 647-206-7914 - adrian.bell@schindler.com -www.ca.schindler.com
Overhead Doors | Tom Swain - Operations Manager WILCOX DOOR SERVICE INC. Tel: 905 274 5850, ext 350 - Mobile 647 460 1911 - tswain@wilcoxdoor.com
Corporate Security | Asif Mohammed - Senior Security Coordinator - City of Toronto, Corporate Security - Corporate Real Estate Management - Cell: 416-508-0243 -email asif.mohammed@toronto.ca
Corporate IT | David Gilkes David.Gilkes@toronto.ca - Mark Lafleche Mark.Lafleche@toronto.ca
EMERGENCY GENERATOR | POWER STATION LTD. 1050 JAYSON CRT. MISSISSAUGA N L4W 2V5 TEL 905 565 1621 RYAN UDALL rudall@pwrstn.com
Plumbing Services | Plumbing: - Ocean Mechanical Inc.- 665 Millway Ave, Units 4 & 5, Concord, ON L4K 3T8 - Rick Baldassini - Tel: (905) 760-1343, Fax: (905)-760-7842 - rbaldassini@oceanmechanical.com
Copper Silver Ionization System Service Provider | CHEM-AQUA, DIV OF NCH CANADA INC, Terry Runka 905-487-4205 trunka@chemaqua.com
Heating & Cooling Loop Water Treatment Contractor | Ainsworth Subcontractor - Rochester Midland Coropration - Sales & Service Office: 143 Mills Road, Ajax, Ontario L1S 2H2 Tel: 905 619-6741
HVAC Mechanical Contractor | Ally Ruttan M.Sc ¦ Program Manager, Major Accounts - Ainsworth Inc. -131 Bermondsey Rd Toronto, ON M4A 1X4 - - TF: 888.393.5553 - C: 647.268.7410 - Ally.Ruttan@ainsworth.com ¦ www.ainsworth.com
ELECTRICAL CONTRACTOR | Electrical: Kudlak-Baird Electrical Contractors - 3176 Lenworth Drive, Mississauga, ON, L4X 2G1 - Tel: (905) 624-3479 Fax: (905) 624-0424
Roof Anchor Maintenance Contractor | LIFTSAFE ENGINEERING AND SERVICE GROUP INC 306 DARRELL DRIVE AYR,ON NOB lEO Phone: 519-896-2430/ Fax: 519-896-2085

## Sheet2
LOCK-UP SERVICES INC | DOOR HARDWARE REPAIRS AND MAINTENANCE | ENVIRONMENTAL SERVICES | Christopher Wright | 416-255-3500 | veronica@lockupservices.ca
MCL - MISTER CHEMICAL LTD | HOUSEKEEPING & LAUNDRY SUPPLIES | ENVIRONMENTAL SERVICES | Michel Garreau | 1-800-430-9555 ext. 284 | michael.garreau@mclgreen.com
MONARCH MECHANICAL LTD | LAUNDRY EQUIPMENT REPAIRS & MAINTENANCE | ENVIRONMENTAL SERVICES | Steve Racey | (Day) 905-709-9915 Afterhours emergency line: 416-828-3878 | monarchmechanical@rogers.com
MONTGOMERY SISAM ARCHITECTS INC | ARCHITECTURAL SERVICES | ENVIRONMENTAL SERVICES | Tony Ross | 416-364-8079 Ext. 229 | TRoss@montgomerysisam.com
NEXT PLUMBING & HYDRONICS SUPPLY IN | PLUMBING & HEATING SUPPLIES | ENVIRONMENTAL SERVICES | Scott Boucher | 416-717-6300 | sboucher@nextsupply.ca
OCEAN MECHANICAL INC | PLUMBING SERVICES | ENVIRONMENTAL SERVICES | Rick Baldassini | (Day) 905-760-1343 Afterhours emergency line: 416-727-9416 Alternate Emergency Contact: Rick 647-333-2879 or Mike: 416-984-7428 | service@oceanmechanical.com
OLYMPIC DUST CONTROL | RENTAL WALK-OFF MATS | ENVIRONMENTAL SERVICES | Angela Rampersaud | 416-650-5176 | arampersaud@rogers.com
POI BUSINESS INTERIORS INC | FURNITURE - CHAIRS AND SOFAS | ENVIRONMENTAL SERVICES | Dan Newman | 289-789-0222 | dnewman@poi.ca
POWER STATION LTD | EMERGENCY GENERATOR MAINTENANCE (CWT, FH, LL, TDA & WM) | ENVIRONMENTAL SERVICES | Cameron Williams | 905-565-1621 | cwilliams@pwrstn.com
PROFESSIONAL PCO SERVICES INC | PEST CONTROL | ENVIRONMENTAL SERVICES | Om Sara | 416-520-7769 | info@propco.ca om@propco.ca
RAFAT GENERAL CONTRACTOR INC | CLEAN OUT OF CATCH BASINS | ENVIRONMENTAL SERVICES | Ather Ali | 905-951-1063 | ather@rafat.ca
SAFETECH ALARM SYSTEMS | Fire Alarms Systems Monitoring | ENVIRONMENTAL SERVICES |  | 416-229-9902 | sam@safetechalarms.com
SCHINDLER ELEVATOR CORPORATION | ELEVATING DEVICE MAINTENANCE | ENVIRONMENTAL SERVICES | Jeffrey Katsoras | 1-800-225-3123 / 416-332-8280 | jeffrey.katsoras@schindler.com
SHUTTER PROFESSIONALS INC | WINDOW BLINDS | ENVIRONMENTAL SERVICES | Parham Varjavandi | 416-816-9795 | commercial@theshutterprofessionals.com
SPECIALTY FURNITURE INC | FURNITURE - TABLES | ENVIRONMENTAL SERVICES | Don Griffin | 519-209-2848 | dongriffin@specialtyfurniture.ca
SUPERIOR DOOR & GATE SYSTEMS LTD | OVERHEAD DOOR MAINTENANCE | ENVIRONMENTAL SERVICES | Joe De Gasperis | 905-828-7000 | joe@sdgs.ca
MCL - MISTER CHEMICAL LTD | FLOOR SCRUBBING EQUIPMENT RENTAL & MAINTENANCE | ENVIRONMENTAL SERVICES | Michel Garreau | 1-800-430-9555 ext. 284 | michael.garreau@mclgreen.com
T&T POWER GROUP INC | EMERGENCY GENERATOR MAINTENANCE (BA, CFL, CL, KA & SO) | ENVIRONMENTAL SERVICES | Ben Tinklin | 519-656-0025 | Ben.Tinklin@ttpowergroup.com
THERMOPATCH (CANADA) INC | HS4C Beaver labelling machines and labels | ENVIRONMENTAL SERVICES | Barbara Roussel, Operations Manager | 1-800-265-6416 | thermopatch@bellnet.ca broussel@thermopatch.com
TRIBRO GROUP LTD | MINOR BUILDING REPAIRS | ENVIRONMENTAL SERVICES | Peter Daicopoulos | 416-892-4265 | info@tribro.ca
VCI CONTROLS INC | HVAC - BUILDING AUTOMATION SYSTEM (CL) | ENVIRONMENTAL SERVICES | Shahryar Abesteh | 905-850-4464 press 211 then 5 | sabesteh@vcicontrols.ca
POWER KING EXHAUST CLEANING | PRESSURE CLEANING FOR EXHAUSTS | FOOD & NUTRITION | Alex Young, CEO | 905-722-1160 | a.young@powerking.ca
ARJOHUNTLEIGH CANADA INC | SOLE SOURCE - LIFT MAINTENANCE AND SLINGS | NURSING & COMPLIANCE | David Baillargeon (CFL, KA, LL, WM, CL) | 416-523-4709 | david.baillargeon@arjo.com
SPAN MEDICAL PRODUCTS CANADA ULC | ELECTRONIC BEDS & HEALTHCARE MATTRESSES | NURSING & COMPLIANCE | Chris Thompson | 705-881-2424 416-994-0997 (mobile) | cpthompson@SpanAmerica.com
POWERTRADE | ELECTRICAL SUPPLIES | ENVIRONMENTAL SERVICES
INDEX CONTRACTING | MINOR BUILDING REPAIRS | ENVIRONMENTAL SERVICES

## Sheet3
LOCKS, DOOR HARDWARE REPAIRS & MAINTENANCE | LOCK-UP SERVICES INC | Christopher Wright | 416-255-3500 | veronica@lockupservices.ca
LAUNDRY EQUIPMENT REPAIRS & MAINTENANCE | MONARCH MECHANICAL LTD | Steve Racey | 905-709-9915 | monarchmechanical@rogers.com
PLUMBING SERVICES | OCEAN MECHANICAL INC | Rick Baldassini | 905-760-1343 | service@oceanmechanical.com
EMERG. GEN. MAINTENANCE (CWT, FH, LL, TDA & WM) | POWER STATION LTD | Cameron Williams | 905-565-1621 | cwilliams@pwrstn.com
PEST CONTROL | PROFESSIONAL PCO SERVICES INC | Om Sara | 416-520-7769 | info@propco.ca
FIRE ALARM MONITORING | SAFETECH ALARM SYSTEMS | Sam Sabarinath | 416-229-9902 | sam@safetechalarms.com
ELEVATING DEVICE MAINTENANCE | SCHINDLER ELEVATOR CORPORATION | Jeffrey Katsoras | 416-332-8280 | jeffrey.katsoras@schindler.com
OVERHEAD DOOR MAINTENANCE | SUPERIOR DOOR & GATE SYSTEMS LTD | Joe De Gasperis | 905-828-7000 | joe@sdgs.ca
EMERG GEN MAINTENANCE (BA, CFL, CL, KA & SO) | T&T POWER GROUP INC | Ben Tinklin | 519-656-0025 | Ben.Tinklin@ttpowergroup.com
MINOR BUILDING REPAIRS - (CWT, FH, LL, TDA & WM) | TRIBRO GROUP LTD | Peter Daicopoulos | 416-892-4265 | info@tribro.ca
BAS - KA | VCI CONTROLS INC | Shahryar Abesteh | 905-850-4464 | sabesteh@vcicontrols.ca
PRESSURE CLEANING FOR EXHAUSTS | POWER KING EXHAUST CLEANING | Alex Young, CEO | 905-722-1160 | a.young@powerking.ca
CEILING LIFTS | ARJOHUNTLEIGH CANADA INC | David Baillargeon (CFL, KA, LL, WM, CL) | 416-523-4709 | david.baillargeon@arjo.com
ELECTRONIC BEDS & HEALTHCARE MATTRESSES | SPAN MEDICAL PRODUCTS CANADA ULC | Chris Thompson | 416-994-0997 | cpthompson@SpanAmerica.com
ELECTRICAL SUPPLIES | POWERTRADE | Derek Yam | (416) 757-3008 | derek.yam@powertradeelectric.com
MINOR BUILDING REPAIRS - (BA, CFL, CL, KA & SO) | INDEX CONSTRUCTION | Nick Soumvalis | T: 416-398-0771 | nsoumvalis@indexconstruction.ca
BAS - TDA | ESC AUTOMATION | Kevin Potts | 647-789-2600 | kpotts@escautomation.com
BAS - WM, CWT, FH | AMBIENT MECHANICAL | Colin MacKay | 647-847-2151 | cmackay@ambientmechanical.ca
BAS - CL, SO, BA, CFL, LL | ENERGY CONCEPT | Lenora Maharaj | 416 642 1961 | info@energyconcepts-inc.com
HVAC | DUNLIS MECHANICAL | Luigi Aresta | 905-793-6026 | luigi@dunlis.com
ELECTRICAL SERVICE PROVIDER | Kudlak-Baird (1982) Limited | Tara Cornfoot | 905-624-3479 | tara@kudlak-baird.com

## CB - C&S (hidden)
[5 empty] | SYSTEMS | BA | CFL | CL | CWT | FH | KA | LL | SO | TDA | WM
[5 empty] | Fire Alarm System | Simplex #4100 | Edwards # EST3 | SIMPLEX 4100ES | Simplex #4100 | Edwards # EST3 | Edwards # EST3 | Edwards # EST3 | Edwards # EST3 | Edwards # EST3 | Notifier # 640
Fire Alarm / Sprinkler/ Standpipe Svc Cont -All Homes | JD Collins Fire Protect | Dan Madden | O: 905-660-4535 / C: 416 606 4117 | dan@jdcollins.ca | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO | JOHNSON CONTROLS / TYCO
[5 empty] | Nurse Call System | Rauland Responder 4000 | PALADIUM CARE Wireless NC System | PALADIUM CARE Wireless NC System PAL203000 | PALADIUM CARE Wireless NC System | Rauland Responder 5000 | GE - TELLIGENCE | Rauland Responder 4000 | Rauland Responder 4000 | Rauland Responder 4000 | Rauland Responder 5000
[5 empty] | Roam Alert System | Stanley Healthcare Solutions | Stanley Healthcare Solutions | Stanley Healthcare Solutions | Stanley Healthcare Solutions | Stanley Healthcare Solutions | Stanley Healthcare Solutions | Stanley Healthcare Solutions | Stanley Healthcare Solutions | Stanley Healthcare Solutions | Stanley Healthcare Solutions
Security System
[5 empty] | BAS System | Reliable Installed 2010 | Reliable Installed 2010 | NCX 2000 Installed 2000 with updates in 2009 - Facility Explorer by Johnson Controls / FX80 | Johnson Controls METASYS / FX80 | Facility Explorer by Johnson Controls / FX40 | VCI:OWS | Reliable Installed 2007 | Reliable Installed 2010 | Orca by Optimira/ESC Installed 2004 | Johnson Controls - METASYS / FX80, Revision Number Release 12.01 Installed 2003
[5 empty] | Emergency Generator Systems | Make: Catepillar Model: SR4 | Make: John Deere Model: 6059TF001 | Make: Kohler Model: 600ROZD | Make:NEWAGE Model: HCI534CIL | Make: Stamford Model: UC12TAE16 | Make: Total Power Model: 14797680100 Make:sdmo - Model: V600UC2 | Make: Kohler Model: 200ROZ291 | Make: Cummins Model: NTTA85562 | Make: Kohler Model: 275REOZD | Make: John Deere Model: 6081AF001
EMERGENCY GENERATOR MAINTENANCE (CWT, FH, LL, TDA & WM) | POWER STATION LTD | Cameron Williams | 905-565-1621 | cwilliams@pwrstn.com | Emerg. Gen. System | CWT: GENREP; FH: GENREP; LL: GENREP; TDA: GENREP; WM: GENREP
EMERGENCY GENERATOR MAINTENANCE (BA, CFL, CL, KA & SO) | T&T PWR GROUP INC | Ben Tinklin | 519-656-0025 | Ben.Tinklin@ttpowergroup.com | Emerg. Gen. System | BA: POWER STATION LTD; CFL: POWER STATION LTD; CL: POWER STATION LTD; KA: POWER STATION LTD; SO: POWER STATION LTD
FIRE ALARM MONITORING | SAFETECH ALARM SYSTEMS | Sam Sabarinath | 416-229-9902 | sam@safetechalarms.com |  | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING | GRAHAM ALARM MONITORING
Fire Extinguisher / Hose Reels Inspection, Recharging, and Maintenance, Kitchen Hood Supression System Contractor | Fire-Alert Franchising Ltd. | Sylvain Houle | O: 905.847.7333 ¦ M:647.515.8328 | sylvain@fire-alert.ca |  | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY | CITY OF TORONTO FIRE & LIFE SAFETY
Kitchen Hood & Laundry Duct Cleaning Contractor | POWER KING EXHAUST CLEANING | Alex Young, CEO | 905-722-1160 | a.young@powerking.ca |  | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING | POWER KING EXHAUST CLEANING
Nurse Call Service Contractor | KR Communications Ltd. | Tammie Jorna | . (519) 684-7570 | tammie.jorna@krcommunications.ca |  | CFL: KR Communications Ltd.; CL: KR Communications Ltd.; CWT: KR Communications Ltd.
Nurse Call Service Contractor | Key Solutions | Glen Yussuf | 1 (416) 816-9457 | glen@keyss.ca |  | Key Solutions |  |  |  | Key Solutions | Key Solutions | Key Solutions | Key Solutions | Key Solutions | Key Solutions
ROAM ALERT SYSTEM SERVICE PROVIDER | KR Communications Ltd. | Tammie Jorna | . (519) 684-7570 | tammie.jorna@krcommunications.ca |  | KR Communications Ltd. | KR Communications Ltd. | KR Communications Ltd. | KR Communications Ltd. | KR Communications Ltd. | KR Communications Ltd. | KR Communications Ltd. | KR Communications Ltd. | KR Communications Ltd. | KR Communications Ltd.
Security Service Contractor | Corporate Security | Michael Duff | 416-338-3792 / (M) 416-717-6694 | Michael.Duff@toronto.ca
Security Service Contractor | Key Solutions | Glen Yussuf | 1 (416) 816-9457 | glen@keyss.ca
BAS | AINSWORTH | Murtaza Abid | 647-526-3931 | Murtaza.abid@ainsworth.com
EMERGENCY GENERATOR MAINTENANCE (CWT, FH, LL, TDA & WM) | POWER STATION LTD | Cameron Williams | 905-565-1621 | cwilliams@pwrstn.com
EMERGENCY GENERATOR MAINTENANCE (BA, CFL, CL, KA & SO) | T&T POWER GROUP INC | Ben Tinklin | 519-656-0025 | Ben.Tinklin@ttpowergroup.com
MINOR BUILDING REPAIRS - (CWT, FH, LL, TDA & WM) | TRIBRO GROUP LTD | Danny | 416 899 2728 | danny@tribro.ca
MINOR BUILDING REPAIRS - (BA, CFL, CL, KA & SO) | INDEX CONSTRUCTION | Nick Soumvalis | T: 416-398-0771 | nsoumvalis@indexconstruction.ca
ELEVATING DEVICE MAINTENANCE | SCHINDLER ELEVATOR CORP. | Adrian Bell | 647-206-7914 | adrian.bell@schindler.com
Corporate Security | Corporate Security | Michael Duff | 416-338-3792 / (M) 416-717-6694 | Michael.Duff@toronto.ca
Corporate IT | Mark Lafleche - 416-397-9998 - (M) 416-543-1078 | David Gilkes | 416-397-4779 - (M) 416-272-9485 | mlaflec@toronto.ca / David.Gilkes@toronto.ca
Plumbing Services Contractor | OCEAN MECHANICAL INC | Rick Baldassini | 905-760-1343 | service@oceanmechanical.com
Water Treatment Contractor | CHEM-AQUA, DIV OF NCH CANADA INC, | Terry Runka | 905-327-6492 | trunka@chemaqua.com
HVAC Mechanical Contractor | Ainsworth Inc | Ed Portelli | 4167959286 | Ed.Portelli@ainsworth.com
Roof Anchor Maintenance Contractor | LIFTSAFE ENGINEERING AND SERVICE | Terri L. Costello | 519-635-2169 | terri@liftsafegroup.com
Door Lock Hardware Service Contractor | LOCK-UP SERVICES INC | Chris Wright | 416-255-3500 | veronica@lockupservices.ca
LAUNDRY EQUIPMENT REPAIRS & MAINTENANCE | MONARCH MECHANICAL LTD | Steve Racey | 905-709-9915 | monarchmechanical@rogers.com
PEST CONTROL | PROFESSIONAL PCO SERVICES INC | Om Sara | 416-520-7769 | info@propco.ca
CEILING LIFTS | ARJOHUNTLEIGH CANADA INC | David Baillargeon | 416-523-4709 | David.Baillargeon@arjo.com
ELECTRONIC BEDS & HEALTHCARE MATTRESSES | SPAN MEDICAL PRODUCTS CANADA ULC | Chris Thompson | 416-994-0997 | cpthompson@SpanAmerica.com
OVERHEAD DOOR MAINTENANCE | SUPERIOR DOOR & GATE SYSTEMS LTD | Joe De Gasperis | 905-828-7000 | joe@sdgs.ca